## Feedwater
Feedwater FG
(B0LAC10EA001)
Feedwater FSG Selector (B0LAC10EA002)
Feedwater
Pump 1
(B0LAC11AP001)
Boiler Condensate Return FG
(B0LCN10EA001)
Boiler Condensate Return Pumps Discharge CV (B0LCN20AA401)
Boiler Condensate Return
Selector (B0LCN10EA002)
Boiler Condensate Return
Pump 1
(B0LCN11AP001)
Boiler Condensate Return
Pump 2
(B0LCN12AP001)
Functional Group
Level
Device Level
Feedwater Tank overflow level MOV
(B0LAA20AA301)
HP primary air preheating 1 to Boiler Return Tank CV
(B1LCN70AA401)
Feedwater FSG 1 (B0LAC11EA001)
Feedwater FSG 2 (B0LAC12EA001)
Feedwater FSG 3 (B0LAC13EA001)
Feedwater VFD
Pump 1
(B0LAC11AU001)
Feedwater Pump 1 Discharge MOV
(B0LAC21AA301)
Feedwater Lube Oil
Pump 1
(B0LAC11AP002)
Feedwater
Pump 2
(B0LAC12AP001)
Feedwater VFD
Pump 2
(B0LAC12AU001)
Feedwater Pump 2 Discharge MOV
(B0LAC22AA301)
Feedwater Lube Oil
Pump 2
(B0LAC12AP002)
Feedwater
Pump 3
(B0LAC13AP001)
Feedwater VFD
Pump 3
(B0LAC13AU001)
Feedwater Pump 3 Discharge MOV
(B0LAC23AA301)
Feedwater Lube Oil
Pump 3
(B0LAC13AP002)
Condenate-Flue Gas H.Ex. condensate to Boiler 1 Condensate Return Tank CV
(B1LCN80AA401)
Feedwater Tank overflow pressure MOV
(B0LAA10AA301)
HP primary air preheating 2 to Boiler Return Tank CV
(B2LCN70AA401)
LP primary air
preheating 1 to Boiler Return Tank CV
(B1LCN40AA401)
LP primary air
preheating 2 to Boiler Return Tank CV
(B2LCN40AA401)
LP secondary air
preheating 1 to Boiler Return Tank CV
(B1LCN50AA401)
LP secondary air
preheating 2 to Boiler Return Tank CV
(B2LCN50AA401)
Condenate-Flue Gas H.Ex. condensate to Boiler 2 Condensate Return Tank CV
(B2LCN80AA401)
Steam-Flue Gas H.Ex. condensate to Boiler 1 Condensate Return Tank CV
(B1LCN81AA401)
Steam-Flue Gas H.Ex. condensate to Boiler 2 Condensate Return Tank CV
(B2LCN81AA401)

## ST Drains
Atmospheric ST Drains FG (B0LCM20EA001)
Atmospheric Flash Tank Vent Attemperation IV (B0LCE50AA301)
Atmospheric Drain Pumps Selector (B0LCM20EA002)
Atmospheric Drain
Pump 1
(B0LCM21AP001)
Atmospheric Flash Tank Attemperation IV (B0LCE50AA302)
Atmospheric Drain
Pump 2
(B0LCM22AP001)
Vacuum Steam Turbine Drains FG
(B0LCM50EA001)
Vacuum Expansion Tank Vent Attemperation IV (B0LCE40AA301)
Vacuum Expansion Tank Drain Pumps Selector (B0LCM50EA002)
ST Vacuum Drain
Pump 1
(B0LCM51AP001)
ST Vacuum Drain
Pump 2
(B0LCM52AP001)
Functional Group
Level
Device Level
Atmospheric Drain to Condensate CV (B0LCM30AA401)
Vacuum Drain to
Condensate CV (B0LCM60AA401)

## Heat distric
District Heating FG (B0LCC70EA001)
District Heating Drain Pumps Discharge CV (B0LCC80AA401)
District Heating Drain Pumps Selector (B0LCC70EA002)
District Heating Drain Pump 1
(B0LCC71AP001)
District Heating
Exchanger Emergency Drain CV
(B0LCC40AA401)
District Heating Drain Pump 2
(B0LCC72AP001)
District Heating Exchanger Feed Bypass MOV (B0NFA10AA301)
District Heating Exchanger Feed Outlet MOV (B0NFA10AA302)
District Heating Exchanger Feed Inlet MOV (B0NFB10AA301)
Functional Group
Level
Device Level
Steam to District Heating Exchanger Pot MOV (B0LBS10AA304)
Steam supply to District Heating Exchanger CV (B0LBS10AA401)
Steam supply to District Heating Exchanger CV (B0LBS10AA402)
District Heating Exchanger Emergency Drain MOV (B0LCC40AA302)

## Blowdown
Blowdown System FG (B1/B2LCQ10EA001)
Blowdown Pumps Discharge CV (B1/B2LCQ25AA401)
Blowdown Pumps Selector (B1/B2LCQ10EA002)
Blowdown Pump 1
(B1/B2LCQ11AP001)
Emergency Blowdown Pumps Discharge CV (B1/B2LCQ15AA401)
Blowdown Pump 2
(B1/B2LCQ12AP001)
Blowdown tank Attemperation CV (A0GHB95/96AA401)
Emergency
Blowdown Pump
(B1/B2LCQ13AP001)
Functional Group
Level
Device Level
Emergency Blowdown Pumps Attemperation CV (A0GHB93/94AA401)

## Service & Potable Water
Service Water FG
(A0GHB10EA001)
Emerg. Blowdown Attemp. Pumps Selector (A0GHB10EA002)
Emerg. Blowdown Attemp. Pump 1
(A0GHB81AP001)
Functional Group
Level
Device Level
Service Water Tank Make up Valve (A0GHB10AA301)
Emerg. Blowdown Attemp. Pump 2
(A0GHB82AP001)
Service Water to Boiler Waste Water Pit Valve (A0GHB55AA301)

## Demi Water
Demi Water System FG (B0GHC00EA001)
Emergency Make up pump
(B0GHC30AP001)
Demi Water Pumps Selector (B0GHC00EA002)
Demi Water Pump 1
(B0GHC16AP001)
Demi Water Pump 2
(B0GHC17AP001)
Demi Water Tank 2 Make up Valve (B0GHC03AA401)
Functional Group
Level
Device Level
Demi Water Tank 1 Make up Valve (B0GHC02AA401)
Demi Water Pump 3
(B0GHC18AP001)
Demi Water Pump 4
(B0GHC19AP001)

## Chemical Dosing
Caustic Soda WS Dosing FG (B0LFN20EA001)
Caustic soda WS dosing to FW CV 1
(B1LFN20AA401)
Functional Group
Level
Device Level
Caustic soda WS dosing to FW CV 2
(B2LFN20AA401)

## Process Water
Process Water System FG (B1/B2GHE10EA001)
Potable Water to Process Water Tank IV (A0GKB70AA301/302)
Process Water Pumps Selector (B1/B2GHE10EA002)
Process Water Pump 1
(B1/B2GHE11AP001)
Process Water Pump 2
(B1/B2GHE12AP001)
Blowdown Cooler to Process Water Tank IV
(B0LCQ30AA301/302)
Functional Group
Level
Device Level
Service Water to Process Water Tank IV (A0GHB44AA301/302)

## Boiler Reused Water_Rev_MM
Boiler Reused Water System FG
(B0LCQ10EA001)
Boiler Reused Water Pumps Selector (B0LCQ10EA002)
Boiler Reused Water Pump 1
(B0LCQ31AP001)
Boiler Reused Water Pump 2
(B0LCQ32AP001)
Functional Group
Level
Device Level
Emerg BlwDn Pmps Disch Boiler Reused Water Tank 1 IV (B0LCQ17AA301)
Emerg BlwDn Pmps Disch Boiler Reused Water Tank 2 IV (B0LCQ17AA302)
Condensate Overflow to Boil. Reused Water Tank 1 IV
(B0LCQ23AA301)
Boil. Cnds. Return Tnk Overflo to Boil. Reused Water Tank 1 IV (B0LCN11AA301))
Boiler Reused Water System FG
(B0LCQ10EA001)
Boiler Reused Water Pumps Selector (B0LCQ10EA002)
Boiler Reused Water Pump 1
(B0LCQ31AP001)
Boiler Reused Water Pump 2
(B0LCQ32AP001)
Functional Group
Level
Device Level
Emerg BlwDn Pmps Disch Boiler Reused Water Tank 1 IV (B0LCQ17AA301)
Emerg BlwDn Pmps Disch Boiler Reused Water Tank 2 IV (B0LCQ17AA302)
Condensate Overflow to Boil. Reused Water Tank 1 IV
(B0LCQ23AA301)
Boil. Cnds. Return Tnk Overflo to Boil. Reused Water Tank 1 IV (B0LCN11AA301))

## Waste Water
Rain Water FG
(B0GUA00EA001)
Rain Water
Pump 1
(B0GUA11AP001)
Bottom Ash Extractor FG
(B0GMH20EA001)
BAE Pit Pumps
Selector (B0GMH20EA002)
BAE Pit Pump 1
(B0GMH20AP001)
BAE Pit Pump 2
(B0GMH21AP001)
Functional Group
Level
Device Level
Rain Water Pumps Discharge Vlv
(B0GUA13AA301)
B1: BAE Pit to BAE Line 1 IV
(B0GMH30AA301)
Rain Water
Pump 2
(B0GUA12AP001)
Rain Water
Overflow Pump 1
(B0GUA31AP001)
Rain Water
Overflow Pump 2
(B0GUA32AP001)
Rain Water Pumps Discharge Filter MOV
(B0GUA31AA302)
B1: BAE Pit to BAE Line 2 IV
(B0GMH31AA301)
B2: BAE Pit to BAE Line 1 IV
(B0GMH32AA301)
B2: BAE Pit to BAE Line 2 IV
(B0GMH33AA301)
Rain Water Pumps Selector (B0GUA10EA002)
Rain Water Overflow Pumps Selector (B0GUA30EA002)
Rain Water FSG (B0GUA10EA001)
Rain Water Overflow FSG (B0GUA30EA001)
IBA Bunker FG
(B0GMH40EA001)
IBA Bunker Pit Pumps
Selector (B0GMH40EA002)
IBA Bunker Pit Pump 1
(B0GMH40AP001)
IBA Bunker Pit Pump 2
(B0GMH41AP001)
Boiler Waste Water FG
(B0GMH80EA001)
Functional Group
Level
Device Level
B1: Blr WstWtr to BAE Line 1 IV (B0GMH80AA301)
B1: Blr WstWtr to BAE Line 2 IV (B0GMH81AA301)
B2: Blr WstWtr to BAE Line 1 IV (B0GMH82AA301)
B2: Blr WstWtr to BAE Line 2 IV (B0GMH83AA301)
Surface Water Attenuation FG
(B0GUA50EA001)
Surface Water Attenuation Pumps
Selector (B0GUA50EA002)
Surface Water Attenuation Pump 1
(B0GUA50AP001)
Surface Water Attenuation Pump 2
(B0GUA51AP001)
Boiler Waste Water Pit1 Pump 1
(B0GMH60AP001)
Boiler Waste Water Pit2 Pump 2
(B0GMH61AP001)
Boiler Waste Water Pit2 Pump 1
(B0GMH70AP001)
Boiler Waste Water Pit2 Pump 2
(B0GMH71AP001)
Boiler Waste Water Pit 1 Pumps Selector (B0GMH60EA002)
Boiler Waste Water Pit 2 Pumps Selector (B0GMH70EA002)
Boiler Waste Water FSG 1 (B0GMH60EA001)
Boiler Waste Water FSG 2 (B0GMH70EA001)
Boiler Waste Water Overflow Pump 1
(B0GMH91AP001)
Boiler Waste Water Overflow Pump 2
(B0GMH92AP001)
Boiler Waste Water Overflow Pumps Selector (B0GMH90EA002)
Boiler Waste Water Overflow FSG (B0GMH90EA001)
Sewage FG
(B0GRB00EA001)
Sewage Pumps
Selector (B0GRB00EA002)
Sewage Pump 1
(B0GRB11AP001)
Sewage Pump 2
(B0GRB12AP001)

## Condensate
Condensate System FG (B0LCA10EA001)
Condensate Filling Line IV
(B0GHC24AA302)
Condensate Pumps Selector (B0LCA10EA002)
Condensate Pump 1
(B0LCA11AP001)
Gland Steam Condenser Bypass CV (B0LCA20EAA401)
Condensate Pump 2
(B0LCA12AP001)
Condensate Tnk Overflow Level CV (B0LCA23AA401)
Condensate Supply to Cond Tnk CV
(B0GHC24AA401)
Functional Group
Level
Device Level
Condensate Minimum Flow CV
(B0LCA24AA401)
LP Preheater FG (B0LCC10EA001)
LP Preheater Drain IV (B0LCC40AA301)
LP Preheater Drain Pumps Selector (B0LCC10EA002)
LP Preheater Drain Pump 1
(B0LCC11AP001)
LP Preheater Drain Pumps Discharge CV (B0LCC30AA401)
LP Preheater Drain Pump 2
(B0LCC12AP001)
Scrubber Cond Preheater Bypass CV (B0LCA20AA403)
LP Preheater Emergency Drain CV
(B0LCC10EAA401)
Functional Group
Level
Device Level
Condensate Supply to Feedwater Tank CV (B0LCA20AA402)
Economizer Cooling FG (B1/B2LCA30EA001)
Economizer Cooling Pumps Selector (B1/B2LCA30EA002)
Economizer Cooling Pump 1
(B1/B2LCA31AP001)
Economizer Cooling Bypass IV (B1/B2LCA30AA301)
Economizer Cooling Pump 2
(B1/B2LCA32AP001)
Economizer Cooling IV
(B1/B2LCA30AA302)
Functional Group
Level
Device Level

## Main Steam Extraction Aux Steam
LP Preheater Drain Pumps Selector (B0LCC10EA002)
LP Preheater Drain Pumps Selector (B0LCC10EA002)
LP Preheater Drain Pumps Selector (B0LCC10EA002)
Steam and Bypass FG (B0LBA10EA001)
LP Preheater Drain IV (B0LCC40AA301)
LP Preheater Drain Pumps Selector (B0LCC10EA002)
LP Preheater Drain Pump 1
(B0LCC11AP001)
LP Preheater Drain Pumps Discharge CV (B0LCC30AA401)
LP Preheater Drain Pump 2
(B0LCC12AP001)
Scrubber Cond Preheater Bypass CV (B0LCA20AA403)
LP Preheater Emergency Drain CV
(B0LCC10EAA401)
Functional Group
Level
Device Level
Condensate Supply to Feedwater Tank CV (B0LCA20AA402)
LP Preheater Drain Pumps Selector (B0LCC10EA002)
LP Preheater Drain Pumps Selector (B0LCC10EA002)
LP Preheater Drain Pumps Selector (B0LCC10EA002)
LP Preheater Drain Pumps Selector (B0LCC10EA002)